Determination of the acute lethal toxicity of substances to a freshwater fish (Brachydanio rerio Hamilton-Buchanan (Teleostei, Cyprinidae))

- monitoring method

(fact sheet)

| ##### Water Category | Lake, River, Ground water, Effluents |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Setting the environmental quality standard acute toxicity data |  |  |
| Name of the method  | Determination of the acute lethal toxicity of substances to a freshwater fish (Brachydanio rerio Hamilton-Buchanan (Teleostei, Cyprinidae)) Part 1. Static method Part 2. Semi-static method |  |  |
| Method proposed by  | ###### Finland |  |  |
| Method commonly used in  | Finland |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| This standard specifies a static method for the determination of the acute lethal toxicity of stable, non-volatile, single substances, soluble in water under specified conditions to freshwater fish, Brachydanio rerio, Test is applicable also to other freshwater, marine or brackish water fish. Determination, under specified conditions, of the concentrations at which a substance is lethal to 50 % of test population of Zebrafish after exposure periods of 24h, 48 h, 72 h and 96 h to that substance in ambient water. Median lethal concentrations are designated as LC50-values. |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – yes if yes provide reference number |  |  | EN ISO 7346 Parts 1. and 2. |
| National Standard (yes/no) – yes if yes provide reference number |  |  | SFS-EN ISO 7346 Parts 1. and 2 |
| National method (yes/no) – if yes provide reference number and details |  |  |  |
| Published in literature (yes/no) – if yes provide reference details |  |  |  |
| Reference material |  |  |  |
| EN ISO 7346 Parts 1. and 2.; Water quality - Determination of the acute lethal toxicity of substances to a freshwater fish (Brachydanio rerio Hamilton-Buchanan (Teleostei, Cyprinidae)) Part 1. Static method Part 2. Semi-static method |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Marja Ruoppa |  |
| Expert e-mail address |  | marja.ruoppa@ymparisto.fi |  |
| URL: |  |  |  |
| Telephone number |  | + 358 9 40300403 |  |