Determination of toxicity to embryos and larvae of freshwater fish – semi-static method

- monitoring method

(fact sheet)

| ##### Water Category | Lake, River, Ground water, Effluents |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Setting the environmental quality standard chronic toxicity data |  |  |
| Name of the method  | Determination of toxicity to embryos and larvae of freshwater fish – semi-static method |  |  |
| Method proposed by  | ###### Finland |  |  |
| Method commonly used in  | Finland |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| This standard specifies a semi-static method for determination of toxicity of chemicals, waters and wastewaters to embryos and early larval developmental stages of a species of freshwater fish, Danio rerio (zebrafish). The method is applicable also to other freshwater fish with appropriate modifications. Newly fertilized eggs are exposed to a series of concentrations of the sample to be tested. The number of surviving and hatched eggs or larvae is recorded daily. The period of exposure of this test is 10 days or may be prolonged up to 14 days. The data obtained are used for calculations of the median times for hatching and survival in the tested concentrations and controls. No effect concentrations (NECs) are determined from the concentration-effect relationship for hatching and survival. |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – yes if yes provide reference number |  |  | ISO 12890:1999 |
| National Standard (yes/no) – if yes provide reference number |  |  | no |
| National method (yes/no) – if yes provide reference number and details |  |  |  |
| Published in literature (yes/no) – if yes provide reference details |  |  |  |
| Reference material |  |  |  |
| ISO 12890:1999; Water quality - Determination of toxicity to embryos and larvae of freshwater fish – semi-static method |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Marja Ruoppa |  |
| Expert e-mail address |  | marja.ruoppa@ymparisto.fi |  |
| URL: |  |  |  |
| Telephone number |  | + 358 9 40300403 |  |