PHYTOPLANKTON - monitoring method

(fact sheet)

| ##### Water Category | Lakes |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Phytoplankton composition, abundance and biomass |  |  |
| Name of the method  | the Utermöhl technique |  |  |
| Method proposed by  | ###### Sweden |  |  |
| Method commonly used in  | Sweden, Denmark, Finland, Germany and also in non-member state Norway |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| Sampling : 200–300 ml of water is sampled with a tube from the epilimnion and preserved with Lugol´s solution supplemented with acetic acid. Additionally a net haul is made also from the epilimnion with a net of 20–25 µm mesh size and preserved with formaldehyde solution. The net sample facilitate species determinations, but all countings are made from the tube-sample. Subsamples from 5 localities in the lake representing the free open area well apart from the littoral areas are mixed and poured in a glass bottle and immediately preserved. In lakes larger than 1 km2 where wind-mixing is more probable to stir up larger waves one single locality is taken and more localities if a gradient is studied. Laboratory : By the use of an inverted microscope and sedimentation chambers and a standard settling technique phytoplankton taxa are defined and counted, and their biovolume calculated. The biovolume of each counted taxon is determined after adaptations to appropriate geometric figures. The results give information of occurring species (number limited by the chosen precision levels of counts. Preservation method is stated in the original technique description by Uterrmöhl. Assessment : Assessment of the current conditions are based on effects along a scale of trophy also related to the total phosphorus levels in a gradient from low to high biomasses in a 5 degree scale. Parameters assesses are total phytoplankton biomass, seasonal mean values April/May–October, late summer biomass (August) reflecting a steady state period, ditom biomass during the spring bloom, biomass of water-blooming cyanobacteria in august, number of potentially toxin-producing cyanobacteria in august and the biomass of the slime-producer and harmful raphidophycean flagellate Gonyostomum semen in August. Assessment of deviations from reference states = measured value/reference value where the reference value is decided after spatially-based typology of lakes in lowland areas, forest areas north and south and alpine areas. |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Deviations from a reference value in 5 classes from no or insignificant deviation-slight deviation-significant deviation-large deviation to very large deviation |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  | Not totally three types of lakes: lowland lakes, forest lakes in southern and northern country and alpine lakes |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  |  |
| National Standard (yes/no) – if yes provide reference number |  |  |  |
| National method (yes/no) – if yes provide reference number and details |  |  | Yes. The methods are publihed in SEPA´s Handbook of Environmental monitoring (only in Swedish). Assessment methods are published in SEPA report 5050 year 2000. |
| Published in literature (yes/no) – if yes provide reference details |  |  | yes as reported under national methods |
| Reference material |  |  |  |
| Utermöhl, H. 1958. Zur Vervollkommnung der quantitativen Phytoplankton-Methodik. – Internationale Vereinigung für theoretische und angewandte Limnologie, Mitteilungen 9:1–38. Lund, J.G.W., Kipling, C. & Le Cren, E.D. 1958. the inverted microscope method of estimating algal numbers and the statistical basis of estimations by counting. – Hydrobiologia 11: 143–170. Rott, E. 1981. Some results from phytoplankton counting intercalibrations. – Schweiz. Z. Hydrol. 43: 34–62. Hällfors, G., Melvasalo, T., Niemi, Å. & Viljamaa, H. 1979. Effects of different fixatives and preservatives on phytoplankton counts. – Publications of the Water Research Institute, National Board of Waters, Finland No 34: 25–34. SEPA 2000. Environmental Quality Criteria. Lakes and Watercourses. – Swedish Environmental Protection Agency report 5050. |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Applicable to define ecological status according to WFD. Reference values need more elaboration including a detailed typology |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Eva Willén |  |
| Expert e-mail address |  | eva.willen@ma.slu.se |  |
| URL: |  | www.ma.slu.se |  |
| Telephone number |  | +46 18 673114 |  |

e