Determination of phosphate in water - monitoring method

(fact sheet)

| ##### Water Category | Natural water, waste water |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Phosphate |  |  |
| Name of the method  | Determination of phosphate in water |  |  |
| Method proposed by  | ###### Finland |  |  |
| Method commonly used in  | Finland |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| Reaction of ortophosphate ions with an acid solution containing molybdate and antimony ions to form an antimony phosphomolybdate complex. Reduction of the complex with ascorbic acid to form a strongly coloured molybdenum blue complex . Measurement of the absorbance of this complex to determine the concentration of ortophosphate present. Dissolved phosphate: sample is filtrated through a polycarbonate membrane (poresize 0,4 µm). |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  |  |
| National Standard (yes/no) – if yes provide reference number |  |  |  |
| National method (yes/no) – if yes provide reference number and details |  |  | Cancelled standard SFS 3025, 1986 |
| Published in literature (yes/no) – if yes provide reference details |  |  |  |
| Reference material |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  |  |  |
| Expert e-mail address |  |  |  |
| URL: |  |  |  |
| Telephone number |  |  |  |