Determination of total phosphorus in water. Digestion with peroxidesulphate - monitoring method

(fact sheet)

| ##### Water Category | Natural water, waste water |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Total phosphorus |  |  |
| Name of the method  | Determination of total phosphorus in water. Digestion with peroxidesulphate. |  |  |
| Method proposed by  | ###### Finland |  |  |
| Method commonly used in  | Finland |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| All forms of phosphorus, including organic phosphorus are converted to ortophosphate by an acid-persulfate digestion. Ortophosphate ions react with molybdate and antimony in acidic solution to form antimony-12-phosphomolybdic acid which upon reduction with ascorbic acid produces an intensely coloured blue complex. The absorbance of the coloured complex is measured at 880 nm. |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  |  |
| National Standard (yes/no) – if yes provide reference number |  |  |  |
| National method (yes/no) – if yes provide reference number and details |  |  | Cancelled standard SFS 3026, 1986 |
| Published in literature (yes/no) – if yes provide reference details |  |  |  |
| Reference material |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  |  |  |
| Expert e-mail address |  |  |  |
| URL: |  |  |  |
| Telephone number |  |  |  |