Oxygen - monitoring method

(fact sheet)

| ##### Water Category | Coastal waters / Baltic Sea |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Chemical and physico-chemical elements supporting the biological elements |  |  |
| Name of the method  | Oxygen |  |  |
| Method proposed by  | ###### HELCOM |  |  |
| Method commonly used in  | All HELCOM Contracting Parties |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| The basic method for the determination of oxygen concentration is the Winkler method (Grasshoff et al., 1983). The oxygen sensors may be used, however it is highly recommended to take water samples in areas with low oxygen concentration (below 2 cm3/dm3). Samples for the determination of oxygen concentration should be collected using appropriate water samplers, especially when collecting near bottom samples to ensure that sample is taken within one metre from the sediment surface. Oxygen sample must be the first one taken from the water sampler and the reagents should be added immediately. Minimum analytical requirements are as follows; detection limit 0.02 cm3/dm3, accuracy CMP 0.1 cm3/dm3 for coastal waters. |  |  |  |
| More detailed description is found in the HELCOM COMBINE Manual: http://www.helcom.fi/Monas/CombineManual2/CombineHome.htm |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  | Standard method for HELCOM monitoring |
| National Standard (yes/no) – if yes provide reference number |  |  |  |
| National method (yes/no) – if yes provide reference number and details |  |  |  |
| Published in literature (yes/no) – if yes provide reference details |  |  | Yes: http://www.helcom.fi/Monas/CombineManual2/CombineHome.htm |
| Reference material |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Juha-Markku Leppänen |  |
| Expert e-mail address |  | juha-markku.leppanen@helcom.fi |  |
| URL: |  |  |  |
| Telephone number |  |  |  |