Salinity - monitoring method

(fact sheet)

| ##### Water Category | Coastal waters / Baltic Sea |  |  |
| --- | --- | --- | --- |
| ##### Water Framework Directive Quality Element | Chemical and physico-chemical elements supporting the biological elements |  |  |
| Name of the method  | Salinity |  |  |
| Method proposed by  | ###### HELCOM |  |  |
| Method commonly used in  | All HELCOM Contracting Parties |  |  |
| Short description of the method (approx. 10 lines): |  |  |  |
| Salinity is to be determined by conductivity and temperature sensors as on a CTD (as well as in a flow-through system onboard ships-of-opportunity or on an automatic station) or from water samples by a laboratory salinometer. The measurements can be done from different platforms, i.e. research vessels, ships-of-opportunity and fixed platforms. |  |  |  |
| Salinity determinations from water samples can be carried out on shore, provided that the analyses are carried out within a few weeks after sampling. The required accuracy for salinity is 0.1 psu in coastal waters |  |  |  |
| More detailed description is found in the HELCOM COMBINE Manual: http://www.helcom.fi/Monas/CombineManual2/CombineHome.htm |  |  |  |
| Reference basis of method and comparison (approx. 10 lines): |  |  |  |
| Reference conditions compliant with WFD (yes/no) |  |  |  |
| Status of method |  |  |  |
| International Standard (yes/no) – if yes provide reference number |  |  | Standard method for HELCOM monitoring |
| National Standard (yes/no) – if yes provide reference number |  |  |  |
| National method (yes/no) – if yes provide reference number and details |  |  |  |
| Published in literature (yes/no) – if yes provide reference details |  |  | Yes: http://www.helcom.fi/Monas/CombineManual2/CombineHome.htm |
| Reference material |  |  |  |
| Applicability of the method to WFD (Expert’s assessment of method) |  |  |  |
| Contact details |  |  |  |
| Name of contact/expert |  | Juha-Markku Leppänen |  |
| Expert e-mail address |  | juha-markku.leppanen@helcom.fi |  |
| URL: |  |  |  |
| Telephone number |  |  |  |